## 2023
Purchase Order Contracts for Monthly Purchases of Items Aggregating $30,000 to $120,000
From January 2023 through December 2023.
PO Number | Name of Vendor | Description of Items Purchased | PO Date | Amount of Line Item
24874 | ANIXTER POWER SOLUTIONS (INC) | JUNCTION BOX V-PHASE 15/25KV | 2023-01-12 | 91770
24898 | ANIXTER POWER SOLUTIONS (INC) | 4/0 ALUM 25KV EPR 260 MIL PRIMARY CABLE | 2023-01-30 | 34500
|  |  | January Subtotal | 126270
24906 | STELLA JONES CORPORATION | POLE 40' CEDAR CLASS 3 | 2023-02-06 | 30186
24906 | STELLA JONES CORPORATION | POLE 45' CEDAR CLASS 2 | 2023-02-06 | 40000
24910 | JENNINGS EQUIPMENT INC | NEW KUBOTA #KX040-4R3TP | 2023-02-07 | 76991.53
|  |  | February Subtotal | 147177.53
24986 | STELLA JONES CORPORATION | POLE 40' CEDAR CLASS 3 | 2023-03-29 | 35348.7
24988 | STELLA JONES CORPORATION | POLE 40' CEDAR CLASS 3 | 2023-03-30 | 65285
|  |  | 40' Wood Pole Subtotal | 100633.7
24986 | STELLA JONES CORPORATION | POLE 45' CEDAR CLASS 2 | 2023-03-29 | 64997.6
24988 | STELLA JONES CORPORATION | POLE 45' CEDAR CLASS 2 | 2023-03-30 | 49080
|  |  | 45' Wood Pole Subtotal | 114077.6
24986 | STELLA JONES CORPORATION | POLE 50' CEDAR CLASS 1 | 2023-03-29 | 21991.9
24988 | STELLA JONES CORPORATION | POLE 50' CEDAR CLASS 1 | 2023-03-30 | 22150
|  |  | 50' Wood Pole Subtotal | 44141.9
24964 | CDW GOVERNMENT INC | DELL PRECISION 7920 | 2023-03-14 | 44096.64
24979 | GENERAL PACIFIC INC | LIGHT,SECURITY 40W LED FLAT LENS | 2023-03-27 | 73027.44
24988 | STELLA JONES CORPORATION | POLE 35' CEDAR CLASS 2 | 2023-03-30 | 61325
|  |  | March Subtotal | 437302.28
24992 | VALMONT COMPOSITE STRUCTURES LLC(INC) | POLE 70' FIBERGLASS CLASS H1 | 2023-04-04 | 105852
25010 | STELLA JONES CORPORATION | POLE 30' CEDAR CLASS 3 | 2023-04-12 | 31320
25010 | STELLA JONES CORPORATION | POLE 40' CEDAR CLASS 3 | 2023-04-12 | 84840
25010 | STELLA JONES CORPORATION | POLE 45' CEDAR CLASS 2 | 2023-04-12 | 83550
25010 | STELLA JONES CORPORATION | POLE 50' CEDAR CLASS 2 | 2023-04-12 | 39720
25010 | STELLA JONES CORPORATION | POLE 55' CEDAR CLASS 3 | 2023-04-12 | 39880
25021 | ANIXTER POWER SOLUTIONS (INC) | 1/0 ALUM 15KV 220 MIL PRIMARY CABLE | 2023-04-21 | 105400
25021 | ANIXTER POWER SOLUTIONS (INC) | CIC, 1/0 ALUM 15KV EPR CABLE-N-CONDUIT | 2023-04-21 | 111454
25021 | ANIXTER POWER SOLUTIONS (INC) | 4/0 ALUM 25KV EPR 260 MIL PRIMARY CABLE | 2023-04-21 | 73596
25021 | ANIXTER POWER SOLUTIONS (INC) | 750 ALUM 15KV 220 MIL EPR PRIMARY CABLE | 2023-04-21 | 116232
|  |  | April Subtotal | 791844
25033 | GENERAL PACIFIC INC | CUTOUT 100A 15KV | 2023-05-01 | 14892.66
25034 | BORDER STATES INDUSTRIES, INC. | CUTOUT 100A 15KV | 2023-05-01 | 29406.24
|  |  | Cutout Subtotal | 44298.9
25072 | PLATT ELECTRIC SUPPLY | CONDUIT,PVC 3" SCHEDULE 40 10' LENGTHS | 2023-05-10 | 51766.44
25099 | IVOXY CONSULTING INC | DELL POWEREDGE R750 SERVERS | 2023-05-30 | 94179.24
25099 | IVOXY CONSULTING INC | NETAPP A150 AND COMPONENTS | 2023-05-30 | 59488.33
|  |  | May Subtotal | 249732.91
25155 | PETRO CARD | UNLEADED REGULAR FUEL | 2023-06-08 | 15922.26
25156 | PETRO CARD | UNLEADED REGULAR FUEL | 2023-06-22 | 16528.86
|  |  | Fuel Subtotal | 32451.12
25127 | GENERAL PACIFIC INC | 150 KVA 15KV 480Y/277V 3PH PADMOUNT | 2023-06-12 | 53456
25147 | BORDER STATES INDUSTRIES, INC. | AV11512STD ALUM W/QUICK BREAK DEVICES | 2023-06-29 | 58655.2
25150 | PLATT ELECTRIC SUPPLY | CONDUIT,PVC 2" SCHEDULE 40 10' LENGTHS | 2023-06-29 | 55535.2
|  |  | June Subtotal | 200097.52
25166 | STELLA JONES CORPORATION | POLE 30' CEDAR CLASS 3 | 2023-07-11 | 37200.5
25166 | STELLA JONES CORPORATION | POLE 40' CEDAR CLASS 3 | 2023-07-11 | 57567.5
25166 | STELLA JONES CORPORATION | POLE 50' CEDAR CLASS 3 | 2023-07-11 | 97761
25171 | VALMONT COMPOSITE STRUCTURES LLC(INC) | POLE, 75' CLASS H3 FIBERGLASS DARK BRNZ | 2023-07-13 | 54765
|  |  | July Subtotal | 247294
25200 | STELLA JONES CORPORATION | POLE 40' CEDAR CLASS 3 | 2023-08-03 | 68467.8
25200 | STELLA JONES CORPORATION | POLE 45' CEDAR CLASS 2 | 2023-08-03 | 47210.7
25200 | STELLA JONES CORPORATION | POLE 50' CEDAR CLASS 3 | 2023-08-03 | 48446.7
25222 | DITCH WITCH WEST | HX50A 800 GAL. DEBRIS TANK | 2023-08-16 | 118380.63
25227 | GENERAL PACIFIC INC | 25 KVA 15KV 120/240V MS POLEMNT | 2023-08-22 | 56550
25231 | ANIXTER POWER SOLUTIONS (INC) | SWITCH V-TYPE VERTICAL 69KV 600A | 2023-08-24 | 37820
25239 | WAUKESHA/PROLEC-GE WAUKESHA INC. | BOLT-ON RADIATOR | 2023-08-28 | 34492
25244 | VALMONT COMPOSITE STRUCTURES LLC(INC) | POLE 60' FIBERGLASS CLASS H1 | 2023-08-30 | 45282
25244 | VALMONT COMPOSITE STRUCTURES LLC(INC) | POLE 65' FIBERGLASS CLASS H1 | 2023-08-30 | 75780
|  |  | August Subtotal | 532429.83
25254 | GENERAL PACIFIC INC | 15 KVA 15KV 120/240V MS POLEMNT | 2023-09-06 | 89980
25254 | GENERAL PACIFIC INC | 25 KVA 15KV 120/240V SS POLEMNT | 2023-09-06 | 101790
|  |  | September Subtotal | 191770
25303 | ANIXTER POWER SOLUTIONS (INC) | 1/0 ALUM 15KV 220 MIL PRIMARY CABLE | 2023-10-05 | 108400
25303 | ANIXTER POWER SOLUTIONS (INC) | CIC, 1/0 ALUM 15KV EPR CABLE-N-CONDUIT | 2023-10-05 | 91800
25303 | ANIXTER POWER SOLUTIONS (INC) | 4/0 ALUM 15KV EPR 220 MIL PRIMARY CABLE | 2023-10-05 | 57000
|  |  | October Subtotal | 257200
25332 | CARLSON SALES METERING SOLUTIONS LLC | METER, FORM 2SE 320A AXe-SD RF FOCUS | 2023-11-06 | 112500
25332B | CARLSON SALES METERING SOLUTIONS LLC | METER, FORM 2SE 320A AXe-SD RF FOCUS | 2023-11-20 | 120000
25376 | GENERAL PACIFIC INC | 15 KVA 15KV 120/240V POLEMNT | 2023-11-29 | 38588
25376 | GENERAL PACIFIC INC | 25 KVA 15KV 120/240V SS POLEMNT | 2023-11-29 | 53372
|  |  | November Subtotal | 324460
25381 | BORDER STATES INDUSTRIES, INC. | SEL 411L Relay | 2023-12-05 | 37200
25384 | ATEC SYSTEMS ASSOCIATES INC | PYROLUSITE FILTER MEDIA FOR ATEC FILTERS | 2023-12-06 | 35000
|  |  | December Subtotal | 72200
|  |  | 2023 Total | 3577778.07